## Prospective Equipment
Sensor Description | Manufacturer | Part # | price
Averaging Flow Grid | Dwyer | AFG-X | 600
Averaging Flow Sensor | Dwyer | SSS-100X | 10
Stainless Steel Pitot Tube | Dwyer | 160-XX | 50
"S" Type Stainless Steel Pitot Tube | Dwyer | 160S-XX | 130
Smart Air Velocity Transmitter | Dwyer | PFS1300XXX | 2000
Air Velocity Transmitter | Dwyer | 641-X | 500
Air Velocity Transmitter | Dwyer | 641B-X | 500
Air Velocity Transmitter | Dwyer | 641RM-X | 501
Air Velocity Transmitter | Dwyer | PF1300XXX | 1800

## NC Study
Sensor Description | Manufacturer | Part # | price | qty | net price
Temperature Probe (thermistor) | Campbell Scientific | T108 | 82 | 6 | 492
Temperature Probe (thermistor) | Campbell Scientific | T107 | 82 | 1 | 82
Temperature and Relative Humidity Probe | Campbell Scientific | CS500 | 570 | 2 | 1140
Datalogger | Campbell Scientific | CR10X |  | 1
Airflow Measuring Station | Air Monitor Corporation | FAN-Evaluator |  | 2 | 0
Differential Pressure Transducer | OMEGA | PX277 | 195 | 2 | 390
Bolt-On Washer Thermocouple | OMEGA | T type | 10 | 3 | 30
Quick Disconnect Thermocouple Probe | OMEGA | T type | 25 | 6 | 150
Cup Anemometer | NRG Systems | Type 40 MAX | 285 | 1 | 285
Pyranometer | LI-COR | LI-200 |  | 1 | 0
|  |  | Total |  | 2569